## Table 1
Reverse Osmosis/multi-stage water treatment process that removes contaminants from unfiltered water, or feed water, when pressure forces it through a semipermeable membrane.
DESCRIPTION | QUANTITY | RATE | AMOUNT
FRP16* - 16* Vessel | 3.00
RISER-001 - Riser pipe, Top and bottom strainer | 3.00
HEAD-001 - Auto Filtration Valve | 3.00
MEDIA-CARBON - Activated Carbon Media | 3.00
MEDIA-SAND - Silica Sand Media | 2.00
MEDIA-AFM - AFM Media | 5.00
MEDIA-IRON - Iron and Manganese Removal Media | 5.00
REV-1000LPH - 1000LPH Industrial RO System | 1.00
FLOAT-001 - Electronic Float Switch | 1.00
DOSING-001 - Dosing Pump | 3.00
DOSING-002 - Dosing Tank | 3.00
MEDIA-ANTI - 25L Anti-Scale Liquid | 1.00
MEDIA-SODIUM - 25L Sodium Hypochlorite | 1.00
UV-110W - 110* Ultraviolet System | 1.00
PUMP-006 - Raw Water Pressure Pump with Controller | 3.00
PIPE-001 - Pipes & Fittings | 1.00
Labour - Labour for two technicians for three days | 2.00
TRAVEL - Travel @ AA Rates | 1.00
ACC - Accommodation for three nights | 2.00
5m X 1,5m X 2m Steel Cage for housing the RO System | Prov Sum |  | 50000
Brick and Concrete plinth for JoJo Tanks | Prov Sum |  | 20000
Brick and Concrete plinth for Reverse Osmosis System | Prov Sum |  | 20000
Electrical connection to system | Prov Sum |  | 20000
Sub-Total 1
Contigencies 10%
Sub-Total 2
VAT 15%
Total Quotation Amount