## Workshop 1
ELECTRICAL BOQ 1: Waterberg TVET College Thabazimbi Electrical workshop
1.25
ITEM |  |  | DESCRIPTION | UNIT | QUAN- | RATE | AMOUNT
NO |  |  |  |  | TITY
201,00 | SOCKETS AND POWER POINTS
Supply and installation of switched socket outlets, power poles and power points, as indicated on the drawings, in accordance with the technical specifications, drawings and the relevant SANS standards
| 0.01 | 32A 3P+E Interlocked switched socket Outlet 3-Phase , IP44 |  | No. | 8
| 0.02 | 6mm² x 4-core Cu PVC CABLE |  | m | 250
| 0.03 | 2.5 mm² Twin+Earth cable |  | m | 200
| 0.04 | 32mm galvanised steel counduit |  | m | 60
| 0.05 | 25mm galvanised steel counduit |  | m | 60
| 0.05 | 20mm galvanised steel counduit |  | m | 60
Carried forward | [5 empty] | R
ELECTRICAL BOQ 1: Waterberg TVET College Thabazimbi Electrical workshop
ITEM |  |  | DESCRIPTION | UNIT | QUAN- | RATE | AMOUNT
NO |  |  |  |  | TITY
Brought forward | [5 empty] | R
|  |  |  | No. | 0
Carried forward | [6 empty] | 0
ELECTRICAL BOQ 1: Waterberg TVET College Thabazimbi Electrical workshop
ITEM |  |  | DESCRIPTION | UNIT | QUAN- | RATE | AMOUNT
NO |  |  |  |  | TITY
Brought forward | [5 empty] | R
202,00 | CIRCUIT BREAKERS
Supply and install circuit breakers, including terminations, in accordance with drawings and specifications
| 0.01 | 100A, 4 Pole, Miniature Circuit Breaker, 10kA |  | No. | 1
| 0.02 | 80A, 4 Pole, Miniture Circuit Breaker, 10kA |  | No. | 1
| 0.03 | 80A, 4 Pole earth leakage circuit breaker |  | No. | 1
| 0.04 | 50A,3 Pole,Minature circuit breaker , 6kA |  | No. | 8
| 0.05 | 20A, 1 Pole, Minature circuit breaker , 3kA |  | No. | 4
203,00 | LOW VOLTAGE DISTRIBUTION
SWITCHBOARDS
Supply and installation of low voltage distribution switchboards in accordance with distribution specifications and schematic drawings. The rate includes all mounting and installation accessories, as well as termination of all cables in the distribution board.
| 0.01 | Architrave Board 60 way (3x20ways) |  | No. | 1
| 0.02 | Install & Commission 3 Phase LV distribution board on site, issuing of CoCs |  | Sum | 1
Carried forward
ELECTRICAL BOQ 1: Waterberg TVET College Thabazimbi Electrical workshop
ITEM |  |  | DESCRIPTION | UNIT | QUAN- | RATE | AMOUNT
NO |  |  |  |  | TITY
Brought forward | [5 empty] | R
204,00 | PROTECTION: LIGHTINING, SURGE, EARTHING AND
BONDING
Supply and installation of protection devices and systems in accordance with standards and regulations. The rate includes all mounting and installation accessories to make installation complete
| 0.01 | Combination Class 1, 25/100kA (10/350) and Class 2 surge arrester for 3-phase and Neutral with replaceable modules and remote signaling contacts. |  | No. | 1
| 0.02 | Supply and installation of earthing for the above distribution boards |  | No. | 1
| 0.05 | Testing of the entire earthing installation by a specialist |  | Item | 1
205,00 | ACCESSORIES AND SUNDRIES
| 0.01 | Supply and installation of all sundries and accessories for the entire installation (screws, junction boxes, cover plates, cable ties, etc) |  | Sum | 1
| Provide the sum of R50 000,00 (Fifty Thousand Rands) for unforeseen work. |  |  | sum | 1
CARRIED FORWARD TO ELECTRICAL BILL OF QUANTITIES SUMMARY

## Workshop 2
ELECTRICAL BOQ 2: Waterberg TVET College Thabazimbi Electrical workshop
1.25
ITEM |  |  | DESCRIPTION | UNIT | QUAN- | RATE | AMOUNT
NO |  |  |  |  | TITY
201,00 | SOCKETS AND POWER POINTS
Supply and installation of switched socket outlets, power poles and power points, as indicated on the drawings, in accordance with the technical specifications, drawings and the relevant SANS standards
| 0.01 | 32A 3P+E Interlocked switched socket Outlet 3-Phase , IP44 |  | No. | 8
| 0.02 | 6mm² x 4-core Cu PVC CABLE |  | m | 250
| 0.03 | 2.5 mm² Twin+Earth cable |  | m | 200
| 0.04 | 32mm galvanised steel counduit |  | m | 60
| 0.05 | 25mm galvanised steel counduit |  | m | 60
| 0.05 | 20mm galvanised steel counduit |  | m | 60
Carried forward | [5 empty] | R
ELECTRICAL BOQ 2: Waterberg TVET College Thabazimbi Electrical workshop
ITEM |  |  | DESCRIPTION | UNIT | QUAN- | RATE | AMOUNT
NO |  |  |  |  | TITY
Brought forward | [5 empty] | R | 0
|  |  |  | No. | 0
Carried forward
ELECTRICAL BOQ 2: Waterberg TVET College Thabazimbi Electrical workshop
ITEM |  |  | DESCRIPTION | UNIT | QUAN- | RATE | AMOUNT
NO |  |  |  |  | TITY
Brought forward | [5 empty] | R
202,00 | CIRCUIT BREAKERS
Supply and install circuit breakers, including terminations, in accordance with drawings and specifications
| 0.01 | 100A, 4 Pole, Miniature Circuit Breaker, 10kA |  | No. | 1
| 0.02 | 80A, 4 Pole, Miniture Circuit Breaker, 10kA |  | No. | 1
| 0.03 | 80A, 4 Pole earth leakage circuit breaker |  | No. | 1
| 0.04 | 50A,3 Pole,Minature circuit breaker , 6kA |  | No. | 8
| 0.05 | 20A, 1 Pole, Minature circuit breaker , 3kA |  | No. | 4
203,00 | LOW VOLTAGE DISTRIBUTION
SWITCHBOARDS
Supply and installation of low voltage distribution switchboards in accordance with distribution specifications and schematic drawings. The rate includes all mounting and installation accessories, as well as termination of all cables in the distribution board.
| 0.01 | Architrave Board 60 way (3x20ways) |  | No. | 1
| 0.02 | Install & Commission 3 Phase LV distribution board on site, issuing of CoCs |  | Sum | 1
Carried forward
ELECTRICAL BOQ 2: Waterberg TVET College Thabazimbi Electrical workshop
ITEM |  |  | DESCRIPTION | UNIT | QUAN- | RATE | AMOUNT
NO |  |  |  |  | TITY
Brought forward | [5 empty] | R
204,00 | PROTECTION: LIGHTINING, SURGE, EARTHING AND
BONDING
Supply and installation of protection devices and systems in accordance with standards and regulations. The rate includes all mounting and installation accessories to make installation complete
| 0.01 | Combination Class 1, 25/100kA (10/350) and Class 2 surge arrester for 3-phase and Neutral with replaceable modules and remote signaling contacts. |  | No. | 1
| 0.02 | Supply and installation of earthing for the above distribution boards |  | No. | 1
| 0.05 | Testing of the entire earthing installation by a specialist |  | Item | 1
205,00 | ACCESSORIES AND SUNDRIES
| 0.01 | Supply and installation of all sundries and accessories for the entire installation (screws, junction boxes, cover plates, cable ties, etc) |  | Sum | 1
| Provide the sum of R50 000,00 (Fifty Thousand Rands) for unforeseen work. |  |  | sum | 1
CARRIED FORWARD TO ELECTRICAL BILL OF QUANTITIES SUMMARY

## Summary
ELECTRICAL BILL OF QUANTITIES SUMMARY
ITEM |  |  | DESCRIPTION |  | AMOUNT
NO
1 | ELECTRICAL BOQ 1: Waterberg TVET College Thabazimbi Electrical workshop |  |  | R
2 | ELECTRICAL BOQ 2: Waterberg TVET College Thabazimbi Electrical workshop |  |  | R
SUB TOTAL
CONTINGENCY ALLOWANCE@ 10%
SUB TOTAL
| VAT | (@ 15 %)
TOTAL OF ELECTRICAL BILL OF QUANTITIES
SIGNED ON BEHALF OF TENDERER…………………………………………………………..