BOQ FOR COSTING	
		DATE:		
		NUMBER		
		REG. NO:		
		VAT:		
	
To: Waterberg TVET College New Central Office
CNR Totius and Hooge Streets Mokopane, 0600		Client Vat No.		
		
		Quote No.		
		
PROJECT:	WATERBERG TVET COLLEGE: LEBOWAKGOMO CAMPUS ELECTRIC FENCE QUOTE	
	
OUR REFERENCE	CLIENT REFERENCE	VALIDITY PERIOD	
WTC-ESTC-EF/08/2023	0	90 Days	
ELECTRIC FENCE ITEMS	
ITEM NO		DESCRIPTION	QTY	RATE	TOTAL	
						
NO1		Fence Pole - 8Line Square Tube Angled Black	810	0,00	R	-	
NO2		Nemtek Energizer - DRUID 228 LCD	2	0,00	R	-	
NO3		Braided Wire - 1.6mm Aluminium /1000m	24	0,00	R	-	
NO4		Warning Signs	270	0,00	R	-	
NO5		Tensioner CompSpring Hyb1 Silver	650	0,00	R	-	
NO6		Accessories Stay - 750mm with Lug Black	78	0,00	R	-	
NO7		Fence Accessories Stay Sleeve - 750mm Black	78	0,00	R	-	
NO8		Nemtek Fence Accessories Spring Hook Stainless Large Tail / 50	13	0,00	R	-	
NO9		Nemtek Fence HT Wire HT Cable Aluminium (Stranded) - Black / 100m	695	0,00	R	-	
NO10		Ferrules - 6mm Aluminium / 100	15	0,00	R	-	
NO11		Nemtek Fence Accessories Earth Spike - Copper Including Nuts 1.2m	84	0,00	R	-	
NO12		Conduit PVC - 20mm SABS per 4m	20	0,00	R	-	
NO13		Conduit PVC - 20mm Coupling	20	0,00	R	-	
NO14		Conduit PVC - 20mm 90 Degree Bend	10	0,00	R	-	
NO15		GLUE - Tube 50ml	20	0,00	R	-	
NO16		Nemtek Fence Accessories Sliding Gate Contact / In-line	1	0,00	R	-	
NO17		Securi-Prod Strobe Light Large Red	1	0,00	R	-	
NO18		Siren 30W - New sound	1	0,00	R	-	
NO19		Screw 12 x 40 Hex Tex / 100	18	0,00	R	-	
NO20		Nemtek Fence Accessories E/ Fence HV Timed Light Galva Dark Grey	4	0,00	R	-	
NO21		Nemtek Fence Accessories Electric Fence In-Line Earth Loop Heavy Galv	7	0,00	R	-	
NO22		Nemtek Fence Accessories Double Pole Lightning Protection System	2	0,00	R	-	
NO23		Nemtek Fence Accessories Stay - 750mm with Lug Black	78	0,00	R	-	
NO24		Nemtek Fence Energizer Keypad - DRUID Keypad 2 Zone	1	0,00	R	-	
NO25		Installation gear and commisioning	1	120 000,00	R	120 000,00	
						
Anchor Poles in between - Square Tube 30x30mm Angled Black back-up Nemtek Energizer - DRUID 228 LCD
back-up Nemtek Fence Accessories Electric Fence In-Line Earth Loop Heavy Galv	No	810	0,00	R	-	
	No	6	0,00	R	-	
	No	40	0,00	R	-	

	SUB TOTAL	R	
		
VAT			
15%				
	TOTAL COSTS